ALAGAPPA UNIVERSITY

(Accredited with “A” Grade by NAAC)

KARAIKUDI

Ref: A1/AKTAPurifier/11						Date:23.05.2011

SEALED TENDERS IN DUPLICATE are invited from reputed firms for the supply of     “Protein Purification System ” to this University, so as to reach the THE REGISTRAR, ALAGAPPA UNIVERSITY, KARAIKUDI. 630 003 on or before  23.06.2011 and should be superscribed as follows:

“TENDER REF.NO.Ref: Ref: A1/AKTAPurifier/11  “due on 23.06.2011 “

1.	The same will be opened by the Registrar or any of her authorized representatives in the presence of such of those tenderers or their duly authorized agents who may be present at that time.

(i) The prices quoted should be in Indian Rupees / Foreign Currency and should include VAT, Central Excise and customs Duty if any, freight to destination and levies and should be for delivery and fixing at designated places at Alagappa University, Karaikudi 630 003.

(ii) The tenderers are requested to quote their VAT Registration Number without fail.  In respect of Inter-State sales, Form “D” declaration will be issued wherever the concessional rate of Central Sales Tax is applicable. The University is authorized to withhold the amount of tax until the party produces an order of the court of competent jurisdiction, declaring the liability of the transaction to “VAT”.

(iii)Ownership of materials shall rest with the supplier until the same is delivered to this University in good condition.

- Every Tender should be accompanied by an EMD of Rs.20,000 /- through a Demand Draft drawn in favour of the Registrar, Alagappa University payable at Karaikudi.  The fact of remittance of EMD should be superscribed on the outer cover of the tender.  Tender covers without such superscription will not be opened.  The deposit of successful tenderer which will carry no interest will be refunded only after the satisfactory completion of the supply of materials ordered and audit of accounts thereto.  Request from firms for waiver of tender deposit will not be considered.  No adjustment from the amount due to tenderer will be permitted to be treated as deposit for this tender.  Tenders without EMD will not be considered.  Registered small scale industries who provide evidence of existence from competent authorities will be exempted from payment of EMD.  In respect of unsuccessful tenders, the EMD will be released immediately after finalization of tender or one month whichever is earlier.  Failure to execute the supply order will result in forfeiture of the E.M.D and the supplier will bear the additional cost if any to be borne by the University.

- No communication from any tenderer adding to / altering or explaining any terms of the tender will be considered after the opening of the tenders by the Registrar.  If any tenderer withdraws his tender after the tenders are opened,   his tender deposit  is liable to be forfeited.  Supplies should be effected within the delivery period quoted with tendered rates, failing which the tender deposit of the successful tenderer will be forfeited, and the order placed also cancelled at their risk and cost.  Conditional offer such as subject to prior sales etc.  are liable to be summarily rejected.

- The Registrar, Alagappa University, Karaikudi reserves the right to accept or reject any tender either partly or wholly without assigning any reason therefor.

- The quantities mentioned are only tentative and are liable to be added or subtracted.

- No suit or any proceedings in regard to any matter arising in any respect under this contract shall be instituted in any Court in the District Munsif Court or Sub Court at Sivaganga.  It is agreed that no other Court shall have jurisdiction to entertain any suit or proceedings even through part of the cause of the action araised within their jurisdiction.  In case of any part of cause of action arises within the jurisdiction of any of the Court in Tamil Nadu and not in the Court of Sivaganga then it is agreed to between the parties that such suits or proceedings shall be instituted in a court within Tamil Nadu and no other court outside Tamil Nadu shall have jurisdiction even though any part of the cause of action might arise within the jurisdiction of such courts.

- The successful tenderer should arrange to supply the equipment as per terms of the accepted tender.  Full payment will be made to the supplier only after the receipt of the materials at site in good condition and after making necessary tests.  Any loss or damages in transit should be made good by the supplier at free of cost.  The advance payment will not be made under any circumstances.  Defects in manufacture if any detected at any time should be rectified at free of cost. Non-supply of the equipment will lead to the forfeiture for EMD and the vendor is liable to make good any further loss in procuring the equipment

- The decision of the Registrar is final in respect of defective equipment.  Quantities given in the tender are subject to alteration at the time of placing orders by the University.

- The Successful tenderer should produce income-tax clearance certificate.  In the case of partnership firms, this should be produced for each of the partners and the firm.

- The tender should be valid for a period of 90 days from the date of opening.

- Only parties who agree to abide by the above terms and conditions may send tenders and submission of tenders against this specification would signify such acceptance of the above terms and conditions by the tenderers.

- Tenderers should specifically note that their tenders are liable to be summarily rejected if

i. the rate quoted is not F.O.R. destination

ii. complete technical details of the products as the case may be are not sent with the tender

iii. validity period is not indicated

iv. EMD is not remitted

- Detailed Specifications of the equipment required are enclosed.

- Filled in Tenders both Technical and Commercial bid should be put in separate sealed covers and put into a single big cover .

- Those who are qualified under Technical bid will only be called for commercial bid opening and further negotiation.

Note 1:

An EMD i.e. Rs.20,000/-through a Demand Draft drawn in favour of The Registrar,  Alagappa University and payable at Karaikudi should accompany the tender.

Last date for receipt of tender is upto 23.06.2011 Non supply of the equipment after awarding supply order will lead to forfeiture of EMD without notice

Note 2:

Downloaded Tender document should  accompany the tender fee of Rs.6240/-  including VAT along with the EMD  fee of Rs. 20,000/- by means of Demand Draft favouring “THE REGISTRAR, ALAGAPPA UNIVERSITY, payable at KARAIKUDI “

REGISTRAR i/c

SPECIFICATION

COLUMN CHROMATOGRAPHY WITH UV-VIS DETECTOR & FRACTION COLLECTOR - TECHNICAL SPECIFICATION

Complete column chromatographic system with variable wavelength UV detector and variable volume fraction collector for protein purification

- Pump head piston should be made up of highly stable non reactive materiel

- Pressure rating should be 3600 PSI

- Flow rate range should be from 0.001 to 10 milliliter, and it should be upgradeable to 200 ml/min without adding any additional modules on to the system.

4.   Control & Analysis Software:

-        Control software & analysis Software should be (Windows NT / XP Based).

- Automatic self diagnostic tools on start contains pre-programmed

Method templates for purification

-	Various controls for flow rate, gradient, sample injection, fraction collection, etc.

- Comprehensive documentation to support regulatory requirement for

GLP and GMP

- Automatic evaluation and report procedures for quantization, molecular weight determination.

- Full networking capability

- Inbuilt service diagnostics.

- Online adviser with instant access to technical info on all aspects of chromatographic process.

- Software has column library for various purification columns and automated media screening facility.

- Real time overview of system and separation.

- It has Extensive Data evaluation including HETP determination.

- Multi file peak compare and view extracted data as a spreadsheet or a

2/3D Graph.

- Dual chamber mixer should be driven by magnetic force not by Power

- Flow cell should accommodate the column output with out any tubing

- Monitor should be a single Xenon flash lamp source not two lamps for entire wavelength ranges from 190-700 nm with the increment of 1 nm. Monitor should be able to detect less equal 3 wavelengths at the same.

- Light source and flow cell must connected through the Fiber optics technology

- Conductivity monitor should able to detect more than 500 mS/CM and less than 999.9 mS/CM with temperature compensation.

- Fractions collection in any size of lab scale column from standard tubes or reagent bottles.

- Ion Exchange Selection Kit on Agarose of 1ml volume 07nos to be provided along with the system that includes Strong Anion, Strong Cation, Weak anion, Weak Cation & suitable connectors and instructions.

Pump:

Flow rate 0.001 to 10 ml; Increment 100 µl; Reproducibility < 0.5% rsd at 0.05- 10 ml/min; Accuracy +/- 2% or 2 micro liter/min (with compression compensation activation) Gradient accuracy +/- 1% at 0.05-10ml/min; Gradient reproducibility+/- 0,25% rsd at 0.05-10 ml/min. Pressure range 0 - 25 MPa.

Detector

UV Vis Detector, with wavelength range 190-700 nm; Increment 1 nm; Accuracy  +/- 2 nm; Reproducibility +/- 0.01 nm; Sensitivity 0.001 to 5 AU; Bandwidth 4 nm

Conductivity and pH monitor

The contact parts should be PTFE and Titanium

Conductivity range 1 µS/cm-999.9 mS/cm; Noise ± 0.5% of full- Scale calibrated range.

Cell constant50 cm-1± 20; Cell volume 24 µl; Flow rate 100 ml/min; Pressure 50  MPa

Fraction collector

Should collect up to 95 fractions in Tube Rack 10-18 mm, 40 fractions in Tube Rack 30mm and 175 fractions in Tube Rack 12mm. Fixed volume fractionation or automatic peak fractionation.

Upgrade options:

- System should be upgradable in future to accommodate different chromatography techniques with a single module. The Module should contain Air Sensor Kit, Buffer Selection Kit, Column Selection Kit, Sample Application Kit, Fractionation Kit, Reverse Flow Kit.

- Supplier should be able to supply, in future, imported Cold Cabinet suitable for their system & provide service support for the same from their end. Institute will not accept Cold cabinet of other brands as well service support provided by third party who has no relation to the sale.

Alagappa University

(Accredited with “A” Grade by ‘NAAC’)

Karaikudi – 630 003

Ref:A1/AKTAPurifier/11			Dt: 23.05.2011

Tender Notice

Sealed Tenders are invited by the undersigned from reputed companies for the supply  of   Protein Purification System

| Sl. No | Name of the Equipment | Approx. Value in Rs. | Cost of Tender Schedule Rs. | EMD (Demand Draft) Rs. |
| --- | --- | --- | --- | --- |
| I | Protein Purification System | 20,00,000 | 6,000 + VAT 4% | 20,000 |

Tender documents can be had from the undersigned on payment towards cost of Tender Schedule as mentioned above, by Demand Draft drawn in favour of The Registrar, Alagappa University, and payable at Karaikudi.

Filled in Tenders both Technical and Commercial bid in Separate Sealed Covers put into a Single big cover should reach on or before 23.06.2011 and the same will be opened at 4.00 pm on the same day.

Also visit our website www.alagappauniversity.ac.in.

The undersigned reserves the right to accept or reject or cancel any tender in part or in full without assigning any reason.

Place: Karaikudi

Date:  23.05..2011		                                   REGISTRAR i/c